## Sheet1
system_type | leakage_rate_%_annual | source
Split System (DX) | 6 | IPCC AR5, ASHRAE 34
Packaged Rooftop Unit | 3.5 | IPCC AR5, ASHRAE 34
Chiller (Air-cooled) | 2 | IPCC AR5, ASHRAE 34
Chiller (Water-cooled) | 1.5 | IPCC AR5, ASHRAE 34
VRF/VRV Systems | 4 | IPCC AR5, ASHRAE 34
Heat Pump (Air Source) | 3 | IPCC AR5, ASHRAE 34
Heat Pump (Ground Source) | 2 | IPCC AR5, ASHRAE 34